## Slide 1: Green Hydrogen
Application to Innovation Fund

## Slide 2: Green Hydrogen
Three “colors”of hydrogen: grey, blue, green. The desirable one is: green hydrogen.
Technology: water electrolysis using green energy.
EU strategy: three phases
  2020-2024: min 60GW electrolyzers – about 1 mil tonnes H2;
  2025-2030: min 40GW - about 10 mil tonnes H2;
  2030-2050: about 25% of total renewable capacity to be used for H2 production
Current H2 demand in Romania: 185 000 tonnes/year

## Slide 3: Technical Solution
Peak shaving from 50MW wind and 50MW PV, for a 20MW electrolyzer – resulting about 4500 h/year nominal equivalent

## Slide 4: Electrolyzer Technology
It was selected PEM technology as it is more flexible and more adapted to the variable characteristic production from renewable energy
Downside of PEM: more expensive – need for subsidies

## Slide 5: Operations
Chart: Average production (Mwh/h) in a 24 hours interval
Sales RES | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 0 | 0
Available Electrolysis | 16.6763 | 17.3202 | 18.1801 | 18.8026 | 19.1405 | 20.0334 | 9.1372 | 14.3061 | 18.0024 | 21.1377 | 22.666 | 24.2968 | 24.6988 | 22.0306 | 17.102 | 11.0566 | 6.4588 | 2.7967 | 1.7615 | 0.76988 | 0.81603 | 0.97293 | 16.4 | 16.3192
Production | 16.6763 | 17.3202 | 18.1801 | 18.8026 | 19.1405 | 20.0334 | 24.1372 | 29.3061 | 33.0024 | 36.1377 | 37.666 | 39.2968 | 39.6988 | 37.0306 | 32.102 | 26.0566 | 21.4588 | 17.7967 | 16.7615 | 15.7699 | 15.816 | 15.9729 | 16.4 | 16.3192
Output type | Unit | Volume
Wind energy | MWh | 150,006
PV energy | MWh | 62,016
Total Renewable Energy | MWh | 212,022
of which |  | 
Renewable Energy sold | MWh | 138,278
Used in electrolysis process |  | 89,699
Green Hydrogen produced | Kg H2 | 1,703,392
The green H2 becomes competitive with the grey H2
Storage designed for 8h of nominal H2 production

## Slide 6: Use of Green H2
Before storage: injection in the gas transport network
After storage:
  Green electricity production
  Green chemical products
  H2 mobility

## Slide 7: THANK YOU
doru.voicu@renovatiotrading.ro